## Summary
Data can be arranged in client's own format and linked to the component worksheets.
This data is mapped to following worksheets in order to create input for MIEcalculator
This approach retains compatibility with the original csv file input approach while also demonstrating the interaction of python with an xls workbook.
Extending this to also work with xlsx and xlsm files will be straightforward.
A decision will be required as to how many different input approaches need to be supported before carrying on with further development.
It is important that the component worksheets are kept clean, particularly ensuring that there is no extraneous data that might be picked up.
Formulas should be OK, only the cell value is copied.
Note that MIEcalculator assumes a common % scale for current. Input data must be scaled so that 100% meter current = 100% CT current.
If there is no VT then all VT corrections can be set to zero, but (for now) set k factors to 2 ( setting them to zero will give a divide by zero error in MIEcalculator).
In Example_1.xlsx the load has been entered from site data.

## InputData
Meter
| Test Voltage | % Rated Current | Amps | Power Factor | Phase Angle | Error | U | k |  | simple angle (number only, no lag or lead)
[5 empty] | Degrees | % | % |  |  | Degrees
| 63.5 | 2 | 0.02 | 1 | 0 | 0.058166 | 0.074815 | 2.4816 |  | 0
| 63.5 | 5 | 0.05 | 1 | 0 | 0.030594 | 0.031625 | 2.0219 |  | 0
| 63.5 | 5 | 0.05 | 0.5 Lag | 60 lag | 0.071859 | 0.057352 | 2.4124 |  | 60
| 63.5 | 5 | 0.05 | 0.8 Lead | 37 lead | 0.024158 | 0.072458 | 2.3368 |  | -37
| 63.5 | 10 | 0.1 | 0.5 Lag | 60 lag | 0.055937 | 0.035267 | 2.0609 |  | 60
| 63.5 | 10 | 0.1 | 0.8 Lead | 37 lead | 0.0023797 | 0.030874 | 2.0284 |  | -37
| 63.5 | 100 | 1 | 1 | 0 | 0.016905 | 0.030101 | 2.0328 |  | 0
| 63.5 | 100 | 1 | 0.5 Lag | 60 lag | 0.021066 | 0.031137 | 2.0298 |  | 60
| 63.5 | 100 | 1 | 0.8 Lead | 37 lead | 0.020257 | 0.030162 | 2.0324 |  | -37
| 63.5 | 200 | 2 | 1 | 0 | 0.015961 | 0.03033 | 2.031 |  | 0
for meter page
|  | no.of rows = | 10 | i.e. no. of measured points
|  | no.of columns = | 5 | i.e. current, phase, error, expanded uncertainty, coverage factor
VT
| Voltage % | Red Phase |  | Yellow Phase |  | Blue Phase |  | Expanded Uncertainty |  |  |  | Average over phases
|  | Ratio error | Phase error | Ratio error | Phase error | Ratio error | Phase error | Ratio |  | Phase |  | error | phase | uphase
|  | % | min | % | min | % | min | % | k | min | k | % | crad | crad
| 80 | -0.025 | -11.42 | -0.049 | -12.24 | -0.017 | -12.62 | 0.036 | 2.2 | 1.24 | 2.3 | -0.030333 | -0.35178 | 0.03607
| 90 | -0.017 | -11.38 | -0.042 | -12.1 | -0.009 | -12.54 | 0.036 | 2.2 | 1.24 | 2.3 | -0.022667 | -0.34926 | 0.03607
| 100 | -0.01 | -11.3 | -0.033 | -12.14 | -0.005 | -12.52 | 0.036 | 2.2 | 1.24 | 2.3 | -0.016 | -0.34868 | 0.03607
| 110 | -0.006 | -11.16 | -0.024 | -12.16 | -0.004 | -12.49 | 0.036 | 2.2 | 1.24 | 2.3 | -0.011333 | -0.34722 | 0.03607
| 120 | -0.005 | -11.06 | -0.02 | -12.15 | -0.003 | -12.43 | 0.036 | 2.2 | 1.24 | 2.3 | -0.0093333 | -0.34558 | 0.03607
for VT page
|  | no.of rows = | 5 | i.e. no. of voltage points
|  | no.of columns = | 7 | i.e. voltage, ratio error, expanded uncertainty, coverage factor, phase error, expanded uncertainty, coverage factor
CT
| Current % | Red Phase |  | Yellow Phase |  | Blue Phase |  | Expanded Uncertainty |  |  |  | Average over phases
|  | Ratio error | Phase error | Ratio error | Phase error | Ratio error | Phase error | Ratio |  | Phase |  | error | phase | uphase
|  | % | min | % | min | % | min | % | k | min | k | % | crad | crad
| 5 | -0.2369 | 35.0725 | -0.25817 | 37.2007 | -0.3088 | 36.9181 | 0.039752 | 2.1631 | 1.9272 | 2.2159 | -0.26795 | 1.0587 | 0.056059
| 10 | -0.13668 | 28.2825 | -0.1384 | 28.9533 | -0.18387 | 28.5855 | 0.039747 | 2.1633 | 1.9268 | 2.2163 | -0.15298 | 0.83215 | 0.056049
| 20 | -0.044925 | 25.016 | -0.055008 | 23.6948 | -0.092262 | 23.222 | 0.039746 | 2.1633 | 1.9268 | 2.2163 | -0.064065 | 0.69748 | 0.056049
| 60 | 0.071843 | 21.7385 | 0.044265 | 15.7817 | 0.0099641 | 16.1807 | 0.039746 | 2.1633 | 1.9268 | 2.2163 | 0.042024 | 0.5207 | 0.056049
| 100 | 0.093577 | 15.828 | 0.076196 | 14.3994 | 0.052835 | 15.0096 | 0.039747 | 2.1633 | 1.9268 | 2.2163 | 0.074203 | 0.43863 | 0.056049
| 120 | 0.095818 | 15.1753 | 0.082735 | 14.6173 | 0.064154 | 15.2533 | 0.039747 | 2.1633 | 1.9268 | 2.2163 | 0.080902 | 0.43678 | 0.056049
for CT page
|  | no.of rows = | 6 | i.e. no. of current points
|  | no.of columns = | 7 | i.e. current, ratio error, expanded uncertainty, coverage factor, phase error, expanded uncertainty, coverage factor

## project
meter.csv
meter_inf.csv
VT.csv
Vte_inf.csv
VTp_inf.csv
CT.csv
Cte_inf.csv
CTp_inf.csv
site_inf.csv
load.txt

## meter
10 | 5
2 | 0 | 0.058166 | 0.074815 | 2.4816
5 | 0 | 0.030594 | 0.031625 | 2.0219
5 | 60 | 0.071859 | 0.057352 | 2.4124
5 | -37 | 0.024158 | 0.072458 | 2.3368
10 | 60 | 0.055937 | 0.035267 | 2.0609
10 | -37 | 0.0023797 | 0.030874 | 2.0284
100 | 0 | 0.016905 | 0.030101 | 2.0328
100 | 60 | 0.021066 | 0.031137 | 2.0298
100 | -37 | 0.020257 | 0.030162 | 2.0324
200 | 0 | 0.015961 | 0.03033 | 2.031

## meter_inf
7 | 6
Meter temperature coefficient | 0 | %/deg | 0.01 | norm | 12
Meter calibration temperature | 23 | deg | 0 | norm | 12
Meter annual drift | 0 | % | 0 | norm | 12
Meter voltage dependence | 0 | %/(%V) | 0.01 | norm | 12
Meter frequency dependence | 0 | %/(%f) | 0.025 | norm | 12
Meter field dependence | 0 | %/mT | 0 | norm | 12
Meter harmonic dependence | 0 | %/(%dist) | 0.02 | norm | 12

## VT
Not Tettex | VT5 | RITZ | 2007-04-18
5 | 7
80 | -0.030333 | 0.036 | 2.2 | -0.35178 | 0.03607 | 2.3
90 | -0.022667 | 0.036 | 2.2 | -0.34926 | 0.03607 | 2.3
100 | -0.016 | 0.036 | 2.2 | -0.34868 | 0.03607 | 2.3
110 | -0.011333 | 0.036 | 2.2 | -0.34722 | 0.03607 | 2.3
120 | -0.0093333 | 0.036 | 2.2 | -0.34558 | 0.03607 | 2.3

## VTe_inf
4 | 6
VT temperature coefficient of error | 0.0039 | /deg | 0.00039 | norm | 12
VT calibration temperature | 23 | deg | 0.1 | norm | 12
VT burden coefficient of error | 0 | - | 0 | norm | 12
VT calibration burden | 0.000248 | S | 2.48e-05 | norm | 12

## VTp_inf
2 | 6
VT temperature coefficient of phase | 0.0039 | /deg | 0.00039 | norm | 12
VT burden coefficient of phase | 0 | - | 0 | norm | 12

## CT
T | E | 1 | 2008-10-01
6 | 7
5 | -0.26795 | 0.039752 | 2.1631 | 1.0587 | 0.056059 | 2.2159
10 | -0.15298 | 0.039747 | 2.1633 | 0.83215 | 0.056049 | 2.2163
20 | -0.064065 | 0.039746 | 2.1633 | 0.69748 | 0.056049 | 2.2163
60 | 0.042024 | 0.039746 | 2.1633 | 0.5207 | 0.056049 | 2.2163
100 | 0.074203 | 0.039747 | 2.1633 | 0.43863 | 0.056049 | 2.2163
120 | 0.080902 | 0.039747 | 2.1633 | 0.43678 | 0.056049 | 2.2163

## CTe_inf
4 | 6
CT temperature coefficient of error | 0.0039 | /deg | 0.00039 | norm | 12
CT calibration temperature | 23 | deg | 0.1 | norm | 12
CT burden coefficient of error | 0 | - | 0 | norm | 12
CT calibration burden | 1 | ohm | 0.1 | norm | 10

## CTp_inf
2 | 6
CT temperature coefficient of phase | 0.0039 | /deg | 0.00039 | norm | 12
CT burden coefficient of phase | 0 | - | 0 | norm | 12

## site_inf
8 | 6
Site temperature | 19.5 | deg | 5 | norm | 12
Site voltage | 0 | % | 3 | norm | 12
Site frequency | 0 | % | 0.75 | norm | 12
Site harmonics | 0 | % | 2 | norm | 12
Site CT burden | 1 | ohm | 0.1 | norm | 12
Site VT burden | 0.000248 | S | 2.48e-05 | norm | 12
Site EM field | 0 | mT | 0 | norm | 10
Period of certification | 1 | year | 0 | norm | 50

## load
72.3234 | 23.1073 | 31.5307
89.5531 | 18.8924 | 76.2253
75.0397 | 22.5992 | 21.0976
76.9118 | 19.3578 | 42.5726
80.6151 | 15.7048 | 19.8784
82.115 | 17.0933 | 45.1843
86.8235 | 13.5261 | 14.711
76.9481 | 10.1708 | 57.7699
72.8699 | 20.0772 | 47.5916
80.2815 | 21.8734 | 47.4925
83.7591 | 13.1456 | 28.0972
83.9964 | 8.5706 | 54.1639
68.6657 | 20.7755 | 12.0852
81.0364 | 11.8068 | 10.0137
77.6194 | 24.3422 | 13.6125
81.7056 | 15.6864 | 71.93
78.5607 | 12.0473 | 74.6576
77.6032 | 10.9678 | 20.8056
88.4123 | 10.6393 | 40.4871
73.6548 | 22.2227 | 54.0134
84.1312 | 10.0013 | 9.9391
84.2931 | 10.3957 | 19.758
84.3572 | 18.3247 | 41.0968
78.6467 | 11.2615 | 17.5579
83.365 | 16.6099 | 73.2925
84.2731 | 12.9337 | 54.2905
80.2003 | 14.8215 | 63.0936
86.6057 | 15.406 | 24.7469
83.1629 | 18.2469 | 44.6987
89.8296 | 14.0362 | 34.9494
78.9684 | 18.7842 | 62.106
76.293 | 3.5271 | 74.452
86.4549 | 20.9412 | 77.303
82.152 | 16.2527 | 71.9457
84.7445 | 14.6045 | 67.9012
73.248 | 15.9352 | 23.7643
84.4551 | 9.6591 | 5.366
82.4465 | 16.4363 | 53.9188
81.3714 | 16.8526 | 32.1256
82.4371 | 8.352 | 69.6787
77.7095 | 13.1542 | 12.0195
85.2716 | 14.5244 | 75.7541
80.4295 | 9.6756 | 12.5762
77.7846 | 13.4898 | 31.4743
84.5695 | 15.5926 | 51.9904
82.5185 | 7.6707 | 23.2468
81.7516 | 14.1422 | 15.6464
82.0677 | 10.4558 | 48.148
80.5285 | 11.2464 | 78.301
77.1854 | 16.8902 | 44.5318
80.0059 | 12.4286 | 55.4901
79.3966 | 21.7884 | 7.6981
77.0785 | 20.6912 | 60.1657
73.5886 | 9.3579 | 1.5031
88.0754 | 16.5172 | 16.7273
77.1357 | 13.874 | 10.199
71.3323 | 17.3317 | 37.9645
77.4771 | 19.8584 | 13.8682
76.0439 | 15.7846 | 30.8317
85.6718 | 13.6616 | 80.6554
73.1596 | 18.6411 | 15.7731
81.9804 | 10.7413 | 67.2628
70.1065 | 17.4603 | 7.4759
71.5824 | 5.0949 | 41.2281
75.1049 | 13.7238 | 44.2862
69.9497 | 13.8634 | 47.6807
75.9342 | 13.6092 | 9.7378
76.6425 | 11.2159 | 54.8737
79.5917 | 4.4706 | 58.6024
77.9809 | 18.8046 | 0.19939
81.7199 | 7.0391 | 75.5154
74.9521 | 12.9754 | 56.5875
84.802 | 8.5287 | 5.6409
76.1453 | 29.1142 | 40.1444
85.3907 | 11.7501 | 55.6915
74.812 | 8.078 | 6.3197
81.6792 | 14.6285 | 2.475
79.9173 | 14.3506 | 46.6159
78.5496 | 16.5932 | 38.3426
82.8831 | 5.9095 | 22.1028
84.1301 | 4.0158 | 23.2275
85.7183 | 15.4336 | 62.0341
89.8067 | 23.4664 | 78.9283
84.1681 | 17.0934 | 58.6283
74.6085 | 10.4779 | 54.6355
74.2231 | 15.6576 | 38.817
78.8403 | 10.365 | 33.5035
78.8564 | 18.8589 | 6.2191
82.8767 | 14.7387 | 59.0132
82.3754 | 28.216 | 14.6686
92.0125 | 14.3742 | 60.408
79.6631 | 14.6194 | 3.9021
78.5079 | 13.1044 | 42.4487
77.0665 | 13.4501 | 15.9277
76.3034 | 16.1767 | 34.6747
70.9132 | 8.1636 | 38.3367
82.3477 | 5.4606 | 8.0529
80.1974 | 9.3045 | 5.3673
74.7649 | 18.7931 | 66.5331
90.2245 | 8.349 | 74.8845
84.9571 | 17.1098 | 32.4905
77.6666 | 10.7117 | 11.7091
77.3693 | 17.109 | 21.0193
83.988 | 16.7843 | 6.7551
83.1791 | 15.1175 | 80.1406
74.6515 | 9.9538 | 45.096
90.4526 | 16.6473 | 35.4871
78.6089 | 19.7877 | 48.9496
77.6693 | 17.3444 | 68.8903
76.9081 | 14.8831 | 26.6985
71.7012 | 23.9625 | 30.3202
77.4796 | 20.8396 | 24.7931
81.347 | 13.6228 | 62.0817
83.7347 | 18.0814 | 14.6677
77.597 | 18.5548 | 60.0696
76.7973 | 15.5772 | 50.1658
77.5683 | 15.3873 | 27.0306
83.2967 | 24.2331 | 13.3242
79.7903 | 10.9058 | 67.9544
89.9595 | 15.4632 | 14.2633
90.2231 | 9.9398 | 61.9245
80.7471 | 5.1505 | 58.5502
89.2319 | 21.274 | 41.7621
84.4787 | 16.7569 | 68.5382
82.1623 | 15.9922 | 61.1903
80.5301 | 21.4348 | 61.5806
84.1512 | 9.4708 | 68.1721
84.038 | 10.9794 | 21.7907
80.1127 | 10.3744 | 38.2256
74.2965 | 14.9071 | 14.0533
71.8139 | 12.9894 | 0.13193
81.5222 | 12.3591 | 30.2061
83.2449 | 24.0662 | 63.5339
80.5993 | 16.4526 | 59.2861
68.8691 | 20.6238 | 25.5745
74.9377 | 24.3061 | 17.7618
84.937 | 15.7361 | 79.063
74.7262 | 14.6616 | 39.2993
75.4991 | 17.7577 | 56.9295
89.8987 | 9.6889 | 35.9966
72.5166 | 11.8538 | 46.0487
81.6049 | 12.154 | 23.893
80.4494 | 17.9168 | 20.8074
78.3636 | 12.2091 | 6.9331
85.5727 | 15.4873 | 4.1521
85.6663 | 16.6974 | 39.8571
71.0377 | 9.4856 | 56.2905
85.4042 | 9.1427 | 74.6616
73.7477 | 23.6491 | 55.6286
85.5689 | 11.1326 | 73.9265
89.6556 | 20.793 | 52.6338
77.9824 | 11.2643 | 45.087
75.197 | 11.9913 | 12.3358
88.5701 | 16.0653 | 69.931
87.9852 | 15.8679 | 47.1134
76.546 | 9.0791 | 44.467
74.6288 | 8.064 | 55.0077
77.402 | 3.9372 | 54.339
77.327 | 20.401 | 68.9216
86.882 | 20.7318 | 34.5012
89.1073 | 17.759 | 68.1685
81.6415 | 7.8323 | 46.0987
76.6002 | 24.2692 | 14.0871
78.8855 | 13.9371 | 57.8738
77.8967 | 16.4787 | 57.7031
83.1816 | 2.2348 | 40.3188
85.1085 | 13.456 | 65.8397
75.3516 | 13.5493 | 16.185
81.3761 | 0.42349 | 78.0419
79.8184 | 22.8778 | 15.5872
85.6262 | 20.7867 | 0.62696
73.7988 | 23.1383 | 3.4609
76.9299 | 10.7745 | 73.884
75.0108 | 16.1549 | 49.2123
79.5721 | 9.3215 | 56.9606
70.6289 | 10.877 | 13.7896
81.4326 | 10.1655 | 14.8015
72.634 | 16.882 | 23.6142
78.649 | 14.6647 | 15.4958
80.3362 | 26.6789 | 44.7477
78.9876 | 18.0841 | 37.5572
71.8677 | 9.8211 | 58.7812
77.2404 | 14.4002 | 22.0964
75.1682 | 10.8485 | 65.3896
80.6241 | 16.6927 | 76.5476
70.3607 | 8.366 | 5.2692
79.3963 | 18.2109 | 15.7666
85.2736 | 17.0152 | 31.4253
79.6782 | 18.6265 | 8.597
83.9287 | 15.0419 | 9.8248
80.3222 | 20.6255 | 7.7422
86.7348 | 17.0736 | 15.7738
80.4468 | 19.1742 | 62.3889
89.6798 | 20.541 | 17.2389
74.2961 | 11.4913 | 19.4646
90.0948 | 18.1862 | 37.1121
76.5193 | 12.1139 | 27.3943
83.4507 | 12.3981 | 44.9245
77.4775 | 4.3121 | 19.027
79.5836 | 15.2788 | 23.173
79.7102 | 23.2768 | 18.6782
75.2535 | 13.9826 | 26.2681
81.5931 | 15.2045 | 64.1373
77.7348 | 18.6928 | 38.0808
89.7577 | 13.9601 | 44.0933
83.0632 | 12.5161 | 43.7033
79.5344 | 21.162 | 68.6036
82.8651 | 14.006 | 63.498
73.1583 | 17.7809 | 66.3993
72.7587 | 11.3053 | 51.2936
88.2644 | 10.6343 | 11.4755
72.343 | 16.8815 | 42.3088
77.5139 | 12.0538 | 61.8847
80.9397 | 19.8934 | 16.9684
79.642 | 9.9102 | 36.0783
82.9523 | 9.6051 | 20.474
84.4799 | 12.6638 | 72.1568
81.1097 | 18.6536 | 70.5726
85.4694 | 9.8435 | 59.6045
80.3145 | 13.6703 | 11.2203
77.825 | 17.2583 | 1.7011
76.5047 | 15.0755 | 3.269
75.0512 | 15.6008 | 69.6012
78.0211 | 19.6316 | 4.7271
66.2109 | 19.1094 | 18.9829
84.3021 | 10.1671 | 6.4151
75.7132 | 1.2415 | 3.4303
87.5063 | 12.9105 | 55.2502
77.402 | 11.3851 | 12.7488
86.1051 | 20.5727 | 11.3421
72.9657 | 15.2377 | 68.8429
87.5565 | 11.6111 | 78.0454
80.7366 | 14.6989 | 67.1905
72.4407 | 25.4492 | 12.2858
77.8193 | 13.2635 | 4.2441
84.9104 | 15.9721 | 60.7223
75.8137 | 18.4033 | 25.5294
83.2268 | 14.7112 | 56.6388
81.6 | 14.8591 | 48.874
69.7941 | 9.8314 | 9.1883
67.169 | 18.4814 | 21.2845
74.1726 | 3.7793 | 45.3865
84.1567 | 10.1253 | 25.916
81.3817 | 19.2392 | 44.8784
85.3862 | 6.6642 | 60.4614
72.5131 | 7.092 | 63.0027
82.7554 | 8.1484 | 38.2192
72.2844 | 18.6851 | 41.2753
76.2526 | 8.3931 | 57.113
80.0738 | 17.9934 | 69.0709
76.4232 | 13.4571 | 8.1966
68.1881 | 24.7492 | 33.1879
79.4612 | 12.208 | 75.9977
84.9736 | 18.6149 | 16.3956
79.0201 | 7.8533 | 2.2707
78.2974 | 12.732 | 43.0919
68.468 | 9.4626 | 30.199
82.5442 | 12.3419 | 30.7784
80.7179 | 13.3978 | 63.0144
82.6395 | 15.0848 | 6.1149
73.5257 | 15.2584 | 12.4484
82.9111 | 15.0442 | 38.2623
76.3727 | 17.9295 | 10.2672
66.4168 | 12.2415 | 4.6835
87.1033 | 10.1745 | 70.9388
83.3809 | 17.8577 | 3.0654
84.2304 | 17.8094 | 7.6943
78.5909 | 17.049 | 52.9533
74.9669 | 15.9516 | 61.3601
84.6506 | 16.4592 | 68.8157
78.0974 | 21.0902 | 26.5315
78.7137 | 21.6706 | 32.0526
92.5013 | 3.1427 | 23.5068
82.1782 | 11.0972 | 54.8876
78.3286 | 10.9864 | 33.7079
78.8129 | 22.2489 | 61.1259
74.1182 | 19.3757 | 42.3949
85.2907 | 9.1711 | 5.4443
80.4714 | 14.0242 | 55.7191
78.8676 | 19.3038 | 15.6141
80.4541 | 10.0205 | 62.3778
82.9361 | 17.0318 | 39.759
86.2388 | 11.2199 | 83.4675
79.2849 | 14.0608 | 51.5209
74.4407 | 9.487 | 45.9093
85.208 | 10.6005 | 76.7694
70.8756 | 21.9654 | 18.9253
87.9878 | 6.6066 | 21.21
74.5519 | 8.3674 | 43.8122
75.929 | 9.0256 | 7.4785
78.0305 | 5.9985 | 41.8796
77.4866 | 14.9773 | 11.4488
71.4109 | 9.9262 | 55.7609
87.0063 | 20.3966 | 8.7643
80.6158 | 21.5715 | 15.5899
80.2402 | 20.2284 | 26.5961
76.4507 | 11.8348 | 59.9914
63.848 | 19.2715 | 4.3298
81.2163 | 2.5458 | 40.5191
82.8374 | 19.1891 | 70.1872
78.2458 | 10.0815 | 17.5058
71.7783 | 16.5454 | 7.8617
87.1146 | 16.1964 | 53.1482
78.0552 | 17.9258 | 0.2764
77.0316 | 15.8994 | 59.486
86.34 | 18.49 | 77.6282
72.5869 | 17.4465 | 63.6183
79.7109 | 13.5946 | 70.6391
79.4202 | 12.828 | 38.6382
69.468 | 24.0838 | 18.5712
82.2412 | 20.3087 | 52.7739
78.5555 | 19.5098 | 63.9243
83.0883 | 11.3049 | 48.101
67.2193 | 12.7976 | 60.9963
84.0644 | 22.0592 | 11.1298
75.2398 | 12.5452 | 48.6516
80.0342 | 17.0569 | 7.8813
84.5703 | 10.1804 | 68.3089
80.0415 | 14.5814 | 14.1115
75.9996 | 11.4555 | 70.7743
85.1129 | 17.022 | 21.7161
83.1082 | 20.0651 | 1.2118
86.4298 | 15.3911 | 59.0088
78.7832 | 17.1099 | 11.2234
85.2604 | 15.6791 | 81.6263
70.4257 | 13.9352 | 37.2289
85.1297 | 9.923 | 48.7079
76.8205 | 16.804 | 24.0946
89.6039 | 19.8514 | 79.018
83.1565 | 17.2644 | 12.7138
82.938 | 13.6039 | 35.8842
85.8134 | 12.4607 | 37.4128
85.7018 | 12.9707 | 1.5931
77.9667 | 12.864 | 54.55
78.8395 | 19.1321 | 49.5021
70.3574 | 13.7537 | 59.1076
75.5531 | 16.7386 | 48.1464
81.4273 | 17.428 | 11.1985
84.2049 | 15.0157 | 63.2611
76.2021 | 12.0778 | 23.4962
83.7796 | 23.4806 | 58.9177
83.2877 | 15.4212 | 12.9595
85.1743 | 19.135 | 26.1634
76.6377 | 15.2598 | 71.0297
78.071 | 13.3045 | 33.9443
77.6575 | 19.7347 | 71.3792
83.7095 | 15.7424 | 57.9959
85.5546 | 14.9729 | 53.8156
76.8603 | 11.0298 | 34.1065
84.0205 | 20.2166 | 32.9033
81.8242 | 15.5199 | 7.9225
71.1092 | 10.7753 | 48.9813
79.2629 | 20.6603 | 28.3394
87.4553 | 18.4377 | 44.376
81.2757 | 20.8303 | 34.9528
82.7446 | 13.7589 | 65.2264
75.814 | 15.1643 | 6.231
80.0994 | 18.9872 | 8.7995
85.7352 | 15.1472 | 33.2165
82.7709 | 14.1471 | 57.8398
81.3782 | 12.4807 | 64.8686
80.6618 | 10.8234 | 20.7506
73.4358 | 17.0182 | 28.2045
73.7551 | 17.0582 | 38.7781
76.8568 | 18.8799 | 17.8337
93.2029 | 17.7578 | 3.366
74.739 | 18.9772 | 65.822
85.0483 | 6.168 | 72.48
83.2366 | 14.3609 | 79.7304
73.0051 | 15.1532 | 31.8469
85.6473 | 17.8109 | 32.3224
79.3604 | 6.1873 | 52.4161
69.0343 | 11.4549 | 28.1087
75.3343 | 20.9869 | 64.4753
75.7225 | 15.3772 | 66.3062
73.9315 | 12.0999 | 15.873
84.8388 | 17.9472 | 52.3971
88.1842 | 14.7273 | 32.8403
74.7706 | 20.6459 | 4.7388
78.695 | 14.2998 | 15.1468
77.8964 | 22.4717 | 53.1329
87.355 | 17.3783 | 22.0962
76.7839 | 15.5658 | 51.4094
74.5551 | 8.7695 | 26.1646
89.4447 | 9.5818 | 61.4668
82.5146 | 12.7641 | 1.8435
78.104 | 18.5692 | 70.5219
76.4719 | 17.8655 | 45.3571
76.7983 | 17.5481 | 72.2895
79.8464 | 14.2538 | 23.6741
80.2223 | 10.3876 | 58.4959
83.6287 | 16.4276 | 35.3475
79.4858 | 12.8365 | 41.1791
81.3579 | 10.0751 | 54.2934
84.4837 | 20.9215 | 5.6616
79.2364 | 5.963 | 22.3271
81.6542 | 14.8872 | 7.5861
75.5659 | 20.823 | 6.976
83.7429 | 16.6513 | 11.1615
78.2743 | 16.3711 | 12.4051
77.9127 | 13.1559 | 15.9084
76.8474 | 18.0155 | 40.9479
86.5467 | 21.442 | 16.1958
82.8627 | 12.9712 | 26.4331
81.6221 | 11.0376 | 14.5449
83.6403 | 18.599 | 14.8348
81.6783 | 10.4282 | 72.3816
78.1521 | 16.7185 | 19.5947
85.7876 | 13.7096 | 2.0838
86.4361 | 18.8883 | 78.2421
80.6936 | 13.598 | 6.2635
75.2158 | 8.7983 | 28.7691
70.0594 | 12.7141 | 30.8821
77.6265 | 11.8151 | 6.626
76.435 | 16.743 | 31.3039
74.3331 | 8.5081 | 71.4785
79.7835 | 19.5492 | 14.0913
82.6678 | 12.3888 | 11.8154
81.6639 | 14.6468 | 26.3477
87.165 | 17.0001 | 32.2338
73.2149 | 17.2689 | 64.6324
79.9927 | 18.683 | 35.7308
83.063 | 7.5848 | 15.2043
77.9542 | 9.1461 | 0.77705
87.8988 | 19.4197 | 12.5997
78.2928 | 17.6622 | 20.396
75.7839 | 17.7167 | 38.2011
77.1727 | 14.4705 | 17.9345
75.0513 | 5.4126 | 15.1558
78.2909 | 19.6999 | 32.6931
75.3864 | 14.878 | 16.4842
80.911 | 19.5989 | 5.6122
80.2634 | 22.0722 | 66.4372
76.9837 | 17.4181 | 16.7883
76.3209 | 12.2917 | 63.1043
73.8401 | 10.4791 | 16.2269
89.5425 | 16.7754 | 22.2964
79.3832 | 13.8035 | 74.812
73.004 | 19.1219 | 36.2152
82.6221 | 13.2155 | 51.9535
82.9677 | 10.5377 | 27.4356
76.2573 | 17.0064 | 38.3901
80.8327 | 12.7386 | 40.3637
74.3895 | 16.4141 | 21.8622
75.1206 | 12.8967 | 64.623
76.6387 | 12.232 | 54.4091
77.8134 | 20.1735 | 51.854
77.0037 | 15.8718 | 73.1655
86.8176 | 17.9904 | 42.1975
85.7945 | 18.3391 | 76.8152
88.5949 | 8.3103 | 53.4221
80.4163 | 18.3564 | 20.7408
83.1184 | 21.2671 | 67.8207
79.4514 | 21.2991 | 37.7303
74.3596 | 11.7709 | 71.7475
90.8125 | 11.6225 | 0.81028
76.2886 | 11.2709 | 60.9264
80.0333 | 13.52 | 32.9811
81.3032 | 4.9112 | 68.0647
86.0965 | 12.6782 | 38.7712
90.2799 | 14.8338 | 24.7444
81.8983 | 6.0556 | 34.3985
77.4804 | 12.7734 | 60.4273
73.1726 | 10.8041 | 59.673
82.9823 | 6.0986 | 11.1223
86.1094 | 18.6787 | 65.1553
80.8071 | 3.7394 | 38.3703
78.109 | 16.5794 | 12.6217
73.69 | 18.6232 | 44.9856
76.7232 | 18.8482 | 34.596
76.7907 | 24.1099 | 22.5511
77.1286 | 15.9832 | 11.6579
83.0515 | 7.5531 | 7.7973
81.6832 | 14.9998 | 18.2386
76.9577 | 14.1816 | 25.1156
76.8613 | 18.0637 | 35.9373
83.2537 | 6.5429 | 34.3265
80.465 | 16.4447 | 70.2193
78.36 | 16.3399 | 60.5546
79.7924 | 10.5144 | 11.1754
78.7064 | 18.7219 | 4.6802
78.8031 | 11.1484 | 7.5183
76.6024 | 22.8577 | 7.7877
77.329 | 21.2565 | 27.4418
89.0846 | 8.4531 | 79.0933
82.747 | 23.5728 | 29.2737
80.6192 | 19.9845 | 49.0214
76.9701 | 15.635 | 54.4826
74.0283 | 13.5546 | 25.1002
88.2006 | 15.4773 | 20.1588
70.9659 | 15.1673 | 16.741
72.7467 | 12.4331 | 17.4708
89.4878 | 12.4218 | 77.5801
73.875 | 10.1324 | 63.0511
77.8197 | 13.1688 | 6.4225
74.8533 | 17.3792 | 3.0446
86.2851 | 17.5119 | 65.3485
90.2337 | 22.5726 | 13.0346
78.489 | 19.946 | 57.9803
87.3631 | 16.3085 | 22.6477
80.2333 | 14.1656 | 39.5495
79.4482 | 23.5988 | 14.1872
73.3789 | 15.3947 | 15.5377
75.8835 | 14.5947 | 54.5276
87.036 | 20.753 | 73.2723
79.3273 | 17.7145 | 35.645
82.4835 | 15.9266 | 71.752
83.9955 | 12.4466 | 19.461
77.3409 | 7.7134 | 59.0697
84.6301 | 14.4268 | 33.5144
77.7737 | 10.5269 | 61.8257
79.6143 | 18.4099 | 19.4631
85.3512 | 9.9089 | 60.8313
71.3288 | 9.0612 | 60.7213
80.0104 | 15.6591 | 31.622
70.687 | 17.2038 | 38.7043
74.5229 | 12.2907 | 38.858
74.389 | 15.4027 | 35.2833
79.9078 | 14.0941 | 26.9145
84.193 | 20.5991 | 36.4893
84.6516 | 17.0213 | 6.0545
72.5554 | 8.7453 | 10.826
78.185 | 11.9372 | 64.1175
92.8128 | 6.3528 | 50.8806
84.8351 | 15.8261 | 18.0043
84.1876 | 9.8477 | 19.1836
78.6332 | 13.5765 | 18.3737
89.0775 | 19.7639 | 18.8235
86.8237 | 12.8661 | 3.5723
72.381 | 13.4025 | 24.2362
79.7224 | 20.5224 | 21.759
80.5922 | 13.6892 | 54.6677
85.435 | 10.4927 | 76.8307
72.1729 | 16.7347 | 29.4559
79.3403 | 19.059 | 47.3316
79.5296 | 12.7809 | 70.2191
75.6928 | 20.1382 | 31.4617
81.9575 | 19.1513 | 16.2853
79.7588 | 13.5617 | 58.5937
76.0389 | 13.3629 | 70.3555
81.2764 | 13.1082 | 40.6145
80.0757 | 15.6966 | 77.0793
72.7972 | 12.6526 | 41.5925
81.2846 | 19.4048 | 22.6411
80.1408 | 13.908 | 39.9783
75.8946 | 14.4781 | 69.068
76.1988 | 6.5409 | 9.4136
73.6665 | 19.0846 | 19.517
85.4687 | 19.01 | 12.2954
80.9443 | 12.6667 | 51.571
84.6483 | 17.3043 | 14.7217
85.9263 | 21.1119 | 66.2401
76.5046 | 10.8885 | 35.6916
85.6041 | 14.3199 | 46.9124
80.0671 | 8.748 | 74.2511
80.4326 | 17.1054 | 31.6846
78.4391 | 18.1187 | 43.165
81.0373 | 14.4712 | 68.8507
80.0868 | 21.1048 | 21.6723
78.2502 | 16.6027 | 48.7551
84.4989 | 6.7006 | 3.5307
86.7403 | 24.1001 | 42.7974
73.8143 | 19.1307 | 5.5734
71.0108 | 19.7485 | 21.3749
77.6337 | 22.2173 | 45.7439
77.4479 | 13.752 | 28.1536
87.9779 | 18.1885 | 51.3003
77.8238 | 28.0942 | 25.0183
83.2759 | 12.7954 | 8.3865
77.7655 | 19.3922 | 47.0478
85.4006 | 12.6082 | 47.0975
76.9518 | 19.8491 | 32.479
75.372 | 12.4338 | 22.5021
78.1504 | 12.5841 | 66.1838
84.4828 | 13.4116 | 4.6353
80.2052 | 15.983 | 39.0162
84.0432 | 10.3627 | 64.1909
77.0085 | 12.8998 | 42.5264
85.6412 | 15.4368 | 27.894
82.5456 | 13.0861 | 20.961
86.089 | 7.9273 | 30.1203
68.6797 | 8.2395 | 51.7999
76.138 | 17.0793 | 2.1179
73.3948 | 16.1419 | 57.7131
83.2974 | 6.966 | 77.3116
77.4535 | 14.4794 | 66.2778
75.8008 | 22.1841 | 2.262
87.5136 | 12.8868 | 7.817
81.2895 | 18.6074 | 37.8519
72.0983 | 14.7487 | 59.6216
77.8217 | 9.7572 | 19.5531
79.9011 | 9.2228 | 37.7599
70.7994 | 16.2329 | 43.0044
82.557 | 6.9264 | 6.836
85.7011 | 15.7821 | 41.0248
76.1711 | 11.6076 | 9.7169
70.3186 | 18.4575 | 11.5512
75.8147 | 10.6312 | 67.0829
71.5979 | 16.8088 | 62.1277
79.9078 | 9.5349 | 67.0859
71.6816 | 18.7301 | 20.9784
82.0719 | 16.5063 | 75.763
85.0716 | 14.9568 | 36.4526
76.323 | 13.4778 | 5.6322
70.4969 | 13.6381 | 6.8279
83.965 | 22.9793 | 43.4963
84.4292 | 14.2235 | 31.6204
83.18 | 11.6079 | 75.6839
73.5587 | 11.2026 | 3.4693
82.8383 | 21.7777 | 52.2724
71.0193 | 16.5938 | 57.5684
82.094 | 11.289 | 60.2909
80.7466 | 11.6586 | 38.1588
81.6223 | 19.0173 | 26.7485
78.9156 | 16.8759 | 7.9891
94.1648 | 14.8026 | 33.023
88.7347 | 12.6547 | 8.2704
79.7765 | 17.2931 | 26.5219
76.5128 | 17.4302 | 8.5024
73.7269 | 5.6721 | 8.9955
78.865 | 13.4083 | 72.9878
86.7037 | 17.0809 | 67.9212
85.3204 | 13.8413 | 69.445
82.1958 | 11.5147 | 30.0124
82.296 | 20.4714 | 25.0955
83.5102 | 3.2255 | 81.7325
82.8795 | 8.5926 | 70.858
79.2473 | 14.0192 | 43.8236
71.644 | 8.2361 | 58.3482
69.1167 | 16.318 | 52.9107
87.4614 | 27.1711 | 62.0542
84.8972 | 15.6942 | 53.8946
81.5445 | 8.2563 | 0.88956
78.0007 | 17.5711 | 65.7743
85.0119 | 11.4739 | 76.4019
72.0531 | 10.1105 | 53.2596
81.5288 | 21.9321 | 69.0718
81.7621 | 19.1691 | 46.5079
78.3835 | 9.321 | 66.0935
71.462 | 14.8455 | 36.2461
79.9681 | 20.4358 | 57.2014
90.4738 | 15.8228 | 9.3078
75.5671 | 29.9701 | 32.9999
83.4478 | 11.5788 | 41.9975
82.5729 | 13.884 | 64.9179
82.8496 | 7.1556 | 79.3983
81.3641 | 15.9622 | 41.2283
76.7795 | 19.4384 | 20.1601
75.3623 | 15.8912 | 59.0718
76.397 | 13.937 | 69.3853
86.9239 | 13.2434 | 61.8013
86.156 | 16.8421 | 68.5209
71.2388 | 14.7349 | 54.3917
80.7185 | 25.6782 | 24.7032
68.4771 | 18.6393 | 33.993
67.8373 | 8.1581 | 39.2948
82.8644 | 17.3847 | 64.9607
76.7739 | 17.0901 | 66.6541
87.4865 | 14.3806 | 52.6128
78.4125 | 10.8369 | 46.5073
78.3963 | 9.5529 | 35.1215
86.2526 | 16.5114 | 27.9126
76.1088 | 8.5033 | 2.9227
88.578 | 10.6206 | 81.9377
83.3118 | 19.658 | 1.1366
88.6441 | 9.7416 | 21.3428
70.783 | 15.5072 | 24.4037
75.5383 | 7.1406 | 43.3248
79.9217 | 8.9609 | 20.5977
72.0254 | 9.9291 | 25.8583
82.4303 | 14.6262 | 10.0777
85.2347 | 11.9908 | 21.7384
69.3175 | 10.39 | 24.2186
74.4418 | 14.1141 | 43.1023
78.2935 | 20.9069 | 72.4101
77.8304 | 10.1667 | 8.8616
77.724 | 13.8095 | 58.953
78.8807 | 5.3849 | 28.9717
79.0192 | 12.8851 | 3.6362
77.468 | 17.4971 | 16.3788
86.6513 | 12.9144 | 51.6052
88.4573 | 10.9242 | 5.4299
83.6428 | 19.3592 | 27.9142
85.8319 | 10.2908 | 28.2586
67.6702 | 11.052 | 9.9052
76.1891 | 24.3641 | 40.6434
79.8368 | 9.0656 | 40.7701
78.8832 | 17.4386 | 67.3112
80.9747 | 15.8795 | 8.2817
80.8861 | 8.8511 | 33.114
80.934 | 17.4616 | 33.7163
86.7542 | 15.3292 | 52.7106
79.9691 | 23.4237 | 40.1661
77.6701 | 16.6969 | 65.3677
83.7 | 16.424 | 15.3262
86.8278 | 17.5797 | 69.3872
88.7275 | 15.3649 | 57.9852
76.9731 | 20.5991 | 4.6388
86.8914 | 7.7861 | 81.4735
83.1088 | 4.6852 | 8.9038
80.8742 | 21.8024 | 26.0539
76.1523 | 9.1251 | 10.3272
78.6319 | 10.3727 | 14.7365
87.6146 | 14.9704 | 13.3679
75.3799 | 15.3729 | 42.3294
79.3448 | 10.7285 | 77.8017
85.1806 | 11.5375 | 61.6255
78.8049 | 16.3845 | 67.8424
88.3569 | 7.7603 | 11.879
81.5553 | 14.3525 | 16.3329
77.4721 | 8.9048 | 12.8354
81.6971 | 12.6112 | 37.4081
79.3262 | 15.6924 | 48.3965
88.3635 | 16.2194 | 56.8946
83.9229 | 14.4876 | 4.6062
83.4963 | 22.8867 | 2.0385
78.6055 | 11.1319 | 32.902
75.5737 | 14.7046 | 70.9474
73.1639 | 16.1177 | 40.9319
82.4991 | 16.4399 | 52.6828
69.9594 | 22.0793 | 8.9478
83.022 | 16.651 | 60.2146
80.0771 | 19.6774 | 40.3912
81.1813 | 15.052 | 55.575
73.763 | 14.3047 | 23.2818
81.249 | 17.1838 | 62.41
81.7413 | 23.3144 | 32.4198
72.445 | 20.6506 | 32.9712
74.6158 | 14.3574 | 45.078
77.2756 | 21.0946 | 15.0413
81.8833 | 21.4404 | 16.2516
73.2797 | 10.3638 | 68.3071
87.4584 | 20.6782 | 52.9616
82.0812 | 16.267 | 38.3724
86.896 | 9.8574 | 36.6814
81.128 | 7.8224 | 39.8206
77.5632 | 12.5846 | 3.8267
86.2194 | 18.2391 | 33.0066
78.5612 | 22.4226 | 30.4783
89.3443 | 13.1623 | 81.481
84.012 | 12.1078 | 52.1181
87.4358 | 19.9139 | 39.1299
80.0855 | 19.6434 | 6.2278
87.4009 | 19.2456 | 30.1323
82.3902 | 11.0359 | 30.3189
83.2595 | 20.6753 | 67.0196
83.6187 | 4.1125 | 57.4198
82.9149 | 12.8111 | 37.6218
74.4511 | 12.0168 | 64.5759
80.2929 | 22.474 | 27.7553
85.4906 | 17.1599 | 3.5287
78.7433 | 18.8303 | 40.7219
74.9636 | 12.604 | 55.4871
79.9318 | 11.9399 | 49.6286
85.4323 | 14.0908 | 46.4579
87.2611 | 14.8708 | 66.6279
81.3966 | 11.8673 | 25.0989
77.6654 | 12.5751 | 67.6881
77.7108 | 15.4876 | 59.0006
82.0977 | 15.0296 | 20.8112
87.2376 | 17.5282 | 42.0148
73.4508 | 9.9517 | 20.4303
88.5888 | 10.4004 | 44.033
75.3309 | 9.2261 | 50.4856
75.8209 | 25.8021 | 13.4666
70.686 | 14.4998 | 19.8048
75.9331 | 12.6076 | 29.5479
81.664 | 17.1472 | 28.0219
85.6131 | 24.5136 | 29.0743
78.7902 | 7.5025 | 68.065
73.6241 | 19.9144 | 62.5247
79.2797 | 15.3622 | 20.286
71.5262 | 15.3579 | 42.4659
84.2595 | 21.5443 | 38.9347
71.6349 | 15.3072 | 18.0158
77.4147 | 14.5724 | 31.5764
85.7809 | 25.205 | 25.1686
79.9721 | 3.1855 | 53.5042
81.0152 | 25.9645 | 11.1534
83.3807 | 15.55 | 56.8539
77.3793 | 15.1738 | 13.7151
75.9272 | 21.6795 | 45.7686
84.0614 | 10.487 | 21.119
74.4856 | 11.4335 | 24.982
75.0711 | 19.6983 | 24.8792
76.2699 | 22.8539 | 10.8425
80.1235 | 14.0604 | 28.7753
79.4187 | 28.3136 | 27.9943
86.9217 | 10.7593 | 69.2922
70.0911 | 21.2347 | 22.937
81.4533 | 9.3818 | 77.619
89.1955 | 23.8991 | 47.3231
81.9238 | 17.8815 | 36.3704
78.7364 | 14.179 | 59.305
78.4369 | 16.1924 | 35.5938
73.7782 | 22.7556 | 62.9311
89.2762 | 10.0234 | 81.8403
75.1976 | 23.6838 | 4.7608
75.6212 | 19.6786 | 36.1708
83.1578 | 4.2219 | 51.4894